# SUGGESTED FORMAT FOR LASER STANDARD OPERATING PROCEDURES (SOP)

The ANSI Z136.1 recommends written SOPs for activities involving Class 3b lasers, and requires written SOPs for Class 4 lasers and laser systems.  A SOP should be a concise document that gives safety instructions specific to the laser and associated equipment.

# 1. Laser Identification & Characteristics

Principal Investigator:

Department:

Telephone #:

Email:

Building and Room #:

Purpose/Intended Use:					__

## LASER PRODUCT

Laser Type: ____________________________________________________________________

Laser Class: 1 _______1M _______2 _______2M _______3R _______3B _______4 _______

Laser Manufacturer: _____________________________________________________________

Activity Status: High ___________ Low ___________ Occasional ____________

Maximum Power (Watts): _________________________

Maximum Energy (Joules): _________________________

Operational Wavelengths (nm): _____________________

Beam Size at Laser Aperture (mm): __________________

Continuous Wave: __________________

Single Pulsed <1Hz (secs): ________________

Repetitively Pulsed > 1Hz (secs) ___________________

Calculated Nominal Hazard Zone: ___________________________

# 2. Hazards associated with this laser (check all that apply):

Eye _____

Skin _____

Electrical _____

Air Contaminants _____

Other _____ Please describe: ____________________________________________________

# 3. Control Measures (For each hazard listed above briefly state the control measures to be used).

Specific type of eye and/or skin protection used ______________________________________

Description of entryway controls ___________________________________________________

Reference to equipment manuals __________________________________________________

NHZ procedures ________________________________________________________________

Shutdown procedures ___________________________________________________________

Other controls in place ___________________________________________________________

Alignment Procedures for this Laser (list here or attach): ________________________________

De-energization procedures when working on exposed electrical parts (list here or attach): ______________________________________________________________________________

# 4. Training Requirements. All users of this laser must first receive the following training:

Laser Safety Training: ___________________________________________________________

(note lab specific training here): ___________________________________________________

All training for this laser is provided by: _____________________________________________

# 5. Emergency Procedures. List actions to be taken in case of emergency and personnel to be contacted.

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# 6. Approved Personnel. List all individuals who are approved to operate the laser without supervision.

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

___________________________________		____________________________________

Note: A hazard evaluation is also required by ANSI for Class 3b and 4 lasers and associated equipment.  This should be kept on file or attached to your SOP.